## ON-P Fixed Inputs
Fixed Inputs
GUIDANCE
- This tab contains all fixed parameters as per the Ofgem CBA template, and should be updated accordingly for RIIO ED2 - The user should enter the Pre-tax WACC and CI and CML prices as per their business plan - The CPIH Index can be used to help the user convert all costs and benefits to the tool price base. The tool price base is currently set at 2018/19 prices. This should be updated once the price base year for RIIO ED2 is determined.
|  | Parameters |  |  |  |  | Prices
|  | Capitalisation rates | 85%
|  | Pre-tax WACC | 3.6% | enter DNO specific pre-tax WACC figure |  |  | Losses (£/MWh) |  |  | 59.7406 | BEIS Traded Carbon Price (Central) | https://assets.publishing.service.gov.uk/government/uploads/system/uploads/attachment_data/file/671191/Updated_short-term_traded_carbon_values_for_modelling_purposes.pdf
|  | Discount Rate <= 30 years | 3.5% | HMRC Green Book (see Discount Factors spreadsheet 'Standard Discount Factors' tab | https://assets.publishing.service.gov.uk/government/uploads/system/uploads/attachment_data/file/685903/The_Green_Book.pdf |  | Cost per litre oil (£/litre) |  |  | 44.5161
|  | Discount Rate > 30 years | 3% | HMRC Green Book (see Discount Factors spreadsheet 'Standard Discount Factors' tab | https://assets.publishing.service.gov.uk/government/uploads/system/uploads/attachment_data/file/685912/Discount_Factors.xlsx |  | CI (£s per interruption, 2012/13 prices) |  |  | 15.4435
|  | Discount rate for safety <= 30 years | 1.5% | HMRC Green Book (see Discount Factors spreadsheet 'Health Discount Factors' tab | https://assets.publishing.service.gov.uk/government/uploads/system/uploads/attachment_data/file/685912/Discount_Factors.xlsx |  | CML (£s per minute lost, 2012/13 prices) |  |  | 0.37667
|  | Discount rate for safety > 30 years | 1.286% | HMRC Green Book (see Discount Factors spreadsheet 'Health Discount Factors' tab | https://assets.publishing.service.gov.uk/government/uploads/system/uploads/attachment_data/file/685912/Discount_Factors.xlsx |  | CI (£s per interruption, 2018/19 prices) |  |  | 17.0185
|  | Assumed Asset Life (Years) | 45 |  |  |  | CML (£s per minute lost, 2018/19 prices) |  |  | 0.41508
|  | Cost per Fatality (£m) | 1.617 |  | http://www.hse.gov.uk/economics/eauappraisal.htm
|  | Cost per Non Fatal injury (£m) | 0.0084 |  | http://www.hse.gov.uk/statistics/cost.htm
| Decarbonisation of electricity assumption: Power sector emissions are anticipated to reduce to 10g/kWh by 2050. Assume a linear decarbonisation pathway from 2017/18 until 2050. Power sector emissions reduce by 11.35 g/kWh p.a. between now and 2030. Beyond 2050 keep emissions at 10g/kWh 1,000 kg = 1 tonne; 1,000 kWh = 1 MWh; 1 kg = 1,000g | [7 empty] | CPIH Index
| Calendar Year | Average Index | g CO2e per kWh (Defra) | Traded carbon price (£/t 2016/17)1 | Traded carbon price (£/t 2018/19 prices) | Electricity GHG conversion factor (tonnes per MWh)3 |  |  | Regulatory Year | Average Index | Calendar Year | Conversion from FY to 2018/19
| 2004 | [7 empty] | 2003/04 | 76.975 | 2004 | 1.3827
| 2005 | [7 empty] | 2004/05 | 78.125 | 2005 | 1.3623
| 2006 | [7 empty] | 2005/06 | 79.825 | 2006 | 1.3333
| 2007 | [7 empty] | 2006/07 | 81.9167 | 2007 | 1.2993
| 2008 | [7 empty] | 2007/08 | 83.825 | 2008 | 1.2697
| 2009 | [7 empty] | 2008/09 | 86.8583 | 2009 | 1.2254
| 2010 | 223.558 | 499.33 | [5 empty] | 2009/10 | 88.4333 | 2010 | 1.2035
| 2011 | 235.18 | 490.56 | 14.2275 | 16.6572 | 0.49056 |  |  | 2010/11 | 90.9083 | 2011 | 1.1708
| 2012 | 242.725 | 553.89 | 6.0704 | 6.8509 | 0.55389 |  |  | 2011/12 | 94.3083 | 2012 | 1.1286
| 2013 | 250.1083 | 518.7 | 3.6781 | 4.0532 | 0.5187 |  |  | 2012/13 | 96.5833 | 2013 | 1.102
| 2014 | 256.0333 | 465.34 | 4.7214 | 5.0965 | 0.46534 |  |  | 2013/14 | 98.6 | 2014 | 1.0794
| 2015 | 258.5417 | 394.12 | 6.2601 | 6.6812 | 0.39412 |  |  | 2014/15 | 99.725 | 2015 | 1.0673
| 2016 | 263.05 | 309.13 | 4.3298 | 4.6006 | 0.30913 |  |  | 2015/16 | 100.1667 | 2016 | 1.0626
1 | 2017 | 272.475 | 384.43 | 4.13 | 4.3289 | 0.38443 |  | 1 | 2016/17 | 101.5417 | 2017 | 1.0482
2 | 2018 | 282.0116 | 373.0836 | 4.19 | 4.2791 | 0.37308 |  | 2 | 2017/18 | 104.2167 | 2018 | 1.0213
3 | 2019 | 290.754 | 361.7373 | 4.37 | 4.37 | 0.36174 |  | 3 | 2018/19 | 106.433 | 2019 | 1
4 | 2020 | 299.4766 | 350.3909 | 4.56 | 4.4706 | 0.35039 |  | 4 | 2019/20 | 108.5617 | 2020 | 0.98039
5 | 2021 | 308.4609 | 339.0445 | 4.76 | 4.5752 | 0.33904 |  | 5 | 2020/21 | 110.7329 | 2021 | 0.96117
6 | 2022 | 317.7147 | 327.6982 | 4.94 | 4.6551 | 0.3277 |  | 6 | 2021/22 | 112.9476 | 2022 | 0.94232
7 | 2023 | 327.2462 | 316.3518 | 6.44 | 5.9496 | 0.31635 |  | 7 | 2022/23 | 115.2065 | 2023 | 0.92385
8 | 2024 | 337.0636 | 305.0055 | 10.18 | 9.2203 | 0.30501 |  | 8 | 2023/24 | 117.5106 | 2024 | 0.90573
9 | 2025 | 347.1755 | 293.6591 | 13.21 | 11.7301 | 0.29366 |  | 9 | 2024/25 | 119.8608 | 2025 | 0.88797
10 | 2026 | 357.5907 | 282.3127 | 17.83 | 15.5221 | 0.28231 |  | 10 | 2025/26 | 122.2581 | 2026 | 0.87056
11 | 2027 | 368.3184 | 270.9664 | 24.2 | 20.6545 | 0.27097 |  | 11 | 2026/27 | 124.7032 | 2027 | 0.85349
12 | 2028 | 379.368 | 259.62 | 28.82 | 24.1153 | 0.25962 |  | 12 | 2027/28 | 127.1973 | 2028 | 0.83676
13 | 2029 | 390.749 | 248.2736 | 32.98 | 27.0551 | 0.24827 |  | 13 | 2028/29 | 129.7412 | 2029 | 0.82035
14 | 2030 | 402.4715 | 236.9273 | 39.41 | 31.696 | 0.23693 |  | 14 | 2029/30 | 132.3361 | 2030 | 0.80426
15 | 2031 | 414.5457 | 225.5809 | 39.41 | 31.0745 | 0.22558 |  | 15 | 2030/31 | 134.9828 | 2031 | 0.78849
16 | 2032 | 426.982 | 214.2345 | 39.41 | 30.4652 | 0.21423 |  | 16 | 2031/32 | 137.6824 | 2032 | 0.77303
17 | 2033 | 439.7915 | 202.8882 | 39.41 | 29.8679 | 0.20289 |  | 17 | 2032/33 | 140.4361 | 2033 | 0.75788
18 | 2034 | 452.9852 | 191.5418 | 39.41 | 29.2822 | 0.19154 |  | 18 | 2033/34 | 143.2448 | 2034 | 0.74301
19 | 2035 | 466.5748 | 180.1955 | 39.41 | 28.708 | 0.1802 |  | 19 | 2034/35 | 146.1097 | 2035 | 0.72845
20 | 2036 | 480.572 | 168.8491 | 39.41 | 28.1451 | 0.16885 |  | 20 | 2035/36 | 149.0319 | 2036 | 0.71416
21 | 2037 |  | 157.5027 | 39.41 | 27.5933 | 0.1575 |  | 21 | 2036/37 | 152.0125 | 2037 | 0.70016
22 | 2038 |  | 146.1564 | 39.41 | 27.0522 | 0.14616 |  | 22 | 2037/38 | 155.0528 | 2038 | 0.68643
23 | 2039 |  | 134.81 | 39.41 | 26.5218 | 0.13481 |  | 23 | 2038/39 | 158.1538 | 2039 | 0.67297
24 | 2040 |  | 123.4636 | 39.41 | 26.0018 | 0.12346 |  | 24 | 2039/40 | 161.3169 | 2040 | 0.65978
25 | 2041 |  | 112.1173 | 39.41 | 25.4919 | 0.11212 |  | 25 | 2040/41 | 164.5433 | 2041 | 0.64684
26 | 2042 |  | 100.7709 | 39.41 | 24.9921 | 0.10077 |  | 26 | 2041/42 | 167.8341 | 2042 | 0.63416
27 | 2043 |  | 89.4245 | 39.41 | 24.502 | 0.089425 |  | 27 | 2042/43 | 171.1908 | 2043 | 0.62172
28 | 2044 |  | 78.0782 | 39.41 | 24.0216 | 0.078078 |  | 28 | 2043/44 | 174.6146 | 2044 | 0.60953
29 | 2045 |  | 66.7318 | 39.41 | 23.5506 | 0.066732 |  | 29 | 2044/45 | 178.1069 | 2045 | 0.59758
30 | 2046 |  | 55.3855 | 39.41 | 23.0888 | 0.055385 |  | 30 | 2045/46 | 181.669 | 2046 | 0.58586
31 | 2047 |  | 44.0391 | 39.41 | 22.6361 | 0.044039 |  | 31 | 2046/47 | 185.3024 | 2047 | 0.57437
32 | 2048 |  | 32.6927 | 39.41 | 22.1923 | 0.032693 |  | 32 | 2047/48 | 189.0085 | 2048 | 0.56311
33 | 2049 |  | 21.3464 | 39.41 | 21.7571 | 0.021346 |  | 33 | 2048/49 | 192.7886 | 2049 | 0.55207
34 | 2050 |  | 10 | 39.41 | 21.3305 | 0.01 |  | 34 | 2049/50 | 196.6444 | 2050 | 0.54125
35 | 2051 |  | 10 | 39.41 | 20.9123 | 0.01 |  | 35 | 2050/51 | 200.5773 | 2051 | 0.53063
36 | 2052 |  | 10 | 39.41 | 20.5022 | 0.01 |  | 36 | 2051/52 | 204.5889 | 2052 | 0.52023
37 | 2053 |  | 10 | 39.41 | 20.1002 | 0.01 |  | 37 | 2052/53 | 208.6806 | 2053 | 0.51003
38 | 2054 |  | 10 | 39.41 | 19.7061 | 0.01 |  | 38 | 2053/54 | 212.8542 | 2054 | 0.50003
39 | 2055 |  | 10 | 39.41 | 19.3197 | 0.01 |  | 39 | 2054/55 | 217.1113 | 2055 | 0.49022
40 | 2056 |  | 10 | 39.41 | 18.9409 | 0.01 |  | 40 | 2055/56 | 221.4536 | 2056 | 0.48061
41 | 2057 |  | 10 | 39.41 | 18.5695 | 0.01 |  | 41 | 2056/57 | 225.8826 | 2057 | 0.47119
42 | 2058 |  | 10 | 39.41 | 18.2054 | 0.01 |  | 42 | 2057/58 | 230.4003 | 2058 | 0.46195
43 | 2059 |  | 10 | 39.41 | 17.8484 | 0.01 |  | 43 | 2058/59 | 235.0083 | 2059 | 0.45289
44 | 2060 |  | 10 | 39.41 | 17.4984 | 0.01 |  | 44 | 2059/60 | 239.7085 | 2060 | 0.44401
45 | 2061 |  | 10 | 39.41 | 17.1553 | 0.01 |  | 45 | 2060/61 | 244.5026 | 2061 | 0.4353
46 | 2062 |  | 10 | 39.41 | 16.819 | 0.01 |  | 46 | 2061/62 | 249.3927 | 2062 | 0.42677
47 | 2063 |  | 10 | 39.41 | 16.4892 | 0.01 |  | 47 | 2062/63 | 254.3805 | 2063 | 0.4184
48 | 2064 |  | 10 | 39.41 | 16.1659 | 0.01 |  | 48 | 2063/64 | 259.4681 | 2064 | 0.4102
49 | 2065 |  | 10 | 39.41 | 15.8489 | 0.01 |  | 49 | 2064/65 | 264.6575 | 2065 | 0.40215
50 | 2066 |  | 10 | 39.41 | 15.5381 | 0.01 |  | 50 | 2065/66 | 269.9506 | 2066 | 0.39427
51 | 2067 |  | 10 | 39.41 | 15.2334 | 0.01 |  | 51 | 2066/67 | 275.3497 | 2067 | 0.38654
52 | 2068 |  | 10 | 39.41 | 14.9348 | 0.01 |  | 52 | 2067/68 | 280.8567 | 2068 | 0.37896
53 | 2069 |  | 10 | 39.41 | 14.6419 | 0.01 |  | 53 | 2068/69 | 286.4738 | 2069 | 0.37153
54 | 2070 |  | 10 | 39.41 | 14.3548 | 0.01 |  | 54 | 2069/70 | 292.2033 | 2070 | 0.36424
55 | 2071 |  | 10 | 39.41 | 14.0734 | 0.01 |  | 55 | 2070/71 | 298.0473 | 2071 | 0.3571
56 | 2072 |  | 10 | 39.41 | 13.7974 | 0.01 |  | 56 | 2071/72 | 304.0083 | 2072 | 0.3501
57 | 2073 |  | 10 | 39.41 | 13.5269 | 0.01 |  | 57 | 2072/73 | 310.0884 | 2073 | 0.34323
58 | 2074 |  | 10 | 39.41 | 13.2616 | 0.01 |  | 58 | 2073/74 | 316.2902 | 2074 | 0.3365
59 | 2075 |  | 10 | 39.41 | 13.0016 | 0.01 |  | 59 | 2074/75 | 322.616 | 2075 | 0.32991
60 | 2076 |  | 10 | 39.41 | 12.7467 | 0.01 |  | 60 | 2075/76 | 329.0683 | 2076 | 0.32344
61 | 2077 |  | 10 | 39.41 | 12.4967 | 0.01 |  | 61 | 2076/77 | 335.6497 | 2077 | 0.3171
62 | 2078 |  | 10 | 39.41 | 12.2517 | 0.01 |  | 62 | 2077/78 | 342.3627 | 2078 | 0.31088
63 | 2079 |  | 10 | 39.41 | 12.0115 | 0.01 |  | 63 | 2078/79 | 349.2099 | 2079 | 0.30478
64 | 2080 |  | 10 | 39.41 | 11.776 | 0.01 |  | 64 | 2079/80 | 356.1941 | 2080 | 0.29881
65 | 2081 |  | 10 | 39.41 | 11.545 | 0.01 |  | 65 | 2080/81 | 363.318 | 2081 | 0.29295
66 | 2082 |  | 10 | 39.41 | 11.3187 | 0.01 |  | 66 | 2081/82 | 370.5844 | 2082 | 0.2872
67 | 2083 |  | 10 | 39.41 | 11.0967 | 0.01 |  | 67 | 2082/83 | 377.9961 | 2083 | 0.28157
68 | 2084 |  | 10 | 39.41 | 10.8792 | 0.01 |  | 68 | 2083/84 | 385.556 | 2084 | 0.27605
69 | 2085 |  | 10 | 39.41 | 10.6658 | 0.01 |  | 69 | 2084/85 | 393.2671 | 2085 | 0.27064
70 | 2086 |  | 10 | 39.41 | 10.4567 | 0.01 |  | 70 | 2085/86 | 401.1325 | 2086 | 0.26533
[8 empty] | 71 | 2086/87 | 409.1551 | 2087 | 0.26013
|  |  |  | 11.3464 | p.a. reduction in carbon intensity
CPIH INDEX 00: ALL ITEMS 2015=100; Identifier = L522 |  |  |  | note: Values taken from Central scenario from Updated short-term carbon values used for modelling purposes (2017)
https://www.ons.gov.uk/economy/inflationandpriceindices/timeseries/l522/mm23 |  |  |  | 1 https://www.gov.uk/carbon-valuation
https://www.ons.gov.uk/generator?format=xls&uri=/economy/inflationandpriceindices/timeseries/l522/mm23

## Flexible Service Valuation Mech
Value Stream | 1.06 Section | Valuation | Reference Section in this report 1.07 | Equation Type | Equation | Actions | Closed?
Proposed Short Term Flexible Service Valuation | 2.1 | Traditional Reinforcement Net Present Value (NPV) | 3.B.II.Construction Projects | Fixed Equation | NPV = Construction Cost/(1+discount)^t | Completed | Yes
| 2.2 | Network Losses |  | Fixed Equation | = Calculated Losses * Cost of Losses | Completed | Yes
| 2.3 | Flexibility Service Administration and Management Costs | 3.A.X. Contract Information | Fixed Equation | = admin cost/year * simulation length | Completed | Yes
Possible Future Flexible Service Valuation | 3.1 | Remaining Asset Life Value | 3.D.IV. Remaining Value of Replaced Assets | Equation Editor | Remaining value of replaced asset = (1-(age/average asset lifespan)) * ( Total investment * Capitalisation rate) | Completed | Yes
| 3.2 | Asset Life Costs (NPV+) | Modeled as part of this project |  | NPV = (Construction Cost+life-time maintenance costs)/(1+discount)^t | Completed | Yes
| 3.3 | Net Avoided Outage Costs (Asset Health) | 3.A.II. Probability of asset failure | Fixed Equation | F(f) = 1 - e~(t/(n+b((6-HI)-0.5)))^B | Completed | Yes
Possible Future Plus Flexible Service Valuation | 4.1 | Loss of Export Capacity | 3.D.II. Tracking Cost of Running the System | Scenarios | Run 2 scenarios, compare results of export capacity | Completed | Yes
| 4.2 | Avoided Energy | 3.D.II. Tracking Cost of Running the System | Fixed Equation | = Energy_traditional - Energy_Flex | Completed | Yes
| 4.3 | Community Generation Credit | 2.A.VIII. Societal Cost | Fixed Equation | = Community Generation Credit/year * Simulation Length | Completed | Yes
| 4.4 | Net Avoided Greenhouse Gasses (GHG) | 3.C.IX. CO2 Emissions | Fixed Equation | = (CO2_Bulk + CO2_DER)_Trad - (CO2_Bulk + CO2_DER)_Flex | Completed | Yes | *Be careful of double counting
Alternative Value Stream Option | 5.1 | Operating Assets Beyond Capacity | 3.A.VI.Cost of rating violations | Equation Editor | F(f) = 1 - e~(t/(n+b((6-HI)-0.5)))^B | Completed | Yes
Key
|  |  |  | Fixed Equation | Formula is set as shown
|  |  |  | Equation Editor | User can modify the specific formula, but the variables in the equation are set
|  |  |  | Scenarios | Evaluated by running multiple scenarios and determining a cost from the difference in the scenario results
| Below no longer included |  |  |  | = Net Non-Energy Costs Value/year * Simulation Length
| 2.2 | Customer Interruption (CI) and Customer Minutes Lost (CML) | 3.A.II.Probability of asset failure
| 2.3 | Backup Generation Costs (Diesel generators as DER)
| 2.4 | Fault Likelihood/Outage Risk
| 3.3 | Asset Redeployment Value | 3.D.IV.Remaining Value of Replaced Assets
| 3.4 | Activity Labour Costs | 3.A.IX.Asset OPEX Cost
3.6
3.8
| 3.9 | Net Avoided Outage Costs | 3.A.II. Probability of asset failure
| 3.11 | Avoided Generation Capacity Cost | 3.D.II. Tracking Cost of Running the System
| 3.12 | Valuing Risk and Reward
| 3.13 | Location Multiplier
| 3.14 | Optionality
| 3.15 | Ancillary Service Cost
| 3.16 | Lost Utility Revenue
| 3.17 | Net Avoided Restoration Costs
| 3.18 | Avoided Distribution Capacity Infrastructure
| 3.19 | Wholesale Market Price Impacts
| 3.2 | Avoided Ancillary Services
| 3.21 | Avoided Transmission Losses
| 3.22 | Avoided Transmission Capacity Infrastructure and O&M
| 4.5 | Net Avoided Air Pollutants
| 4.6 | Avoided Water Impacts
| 4.7 | Avoided Land Impacts
| 4.8 | Net Non-Energy Benefits
| 4.9 | Net Non-Energy Costs
F(f) = 1 - e~(t/(n+b((6-HI)-0.5)))^B

## 2.1 Traditional NPV
Traditional Reinforcement Net Present Value (NPV)
Cost of Traditional Solution
Year | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40
Asset cost | 0 | 0 | 0 | 0 | 1000000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Deferred Asset Cost (deferment depends on load forecast) | 0 | 0 | 0 | 0 | 0 | 1000000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DER admin Cost | 0 | 0 | 0 | 0 | 8513.5135 | 8513.5135 | 8513.5135 | 8513.5135 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Deferred Cost | 0 | 0 | 0 | 0 | 8513.5135 | 1008513.5135 | 8513.5135 | 8513.5135 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Interest Rate | 4% | *Interest rate is variable in Grid OS IDP
Asset NPV Cost | 854804.191
Deferred Asset NPV Cost | 821927.1068
Total Deferred NPV Cost | 849399.9053
Deferrment Saving | 5404.2857
Availability Percentage | 95%
Utilisation Percentage | 5%
Max Availability Payment | 5134.0715
Max Utilisaiton Payment | 270.2143
Number of availability hours required | 100 | *Determined by Grid OS IDP model run
Number of availability MW required | 5 | *Determined by Grid OS IDP model run
Number of uilisation hours required | 1 | *Determined by Grid OS IDP model run
Number of utilisation MW required | 10 | *Determined by Grid OS IDP model run
Availability Price (£/MWhr) | 10.2681
Utilisation Price (£/MWhr) | 27.0214
Costs
DER Admin Costs | 8513.5135 | *Asset deferrment saving divided by 2.26 (Needs checking by flex solution team)
CCCM Doc costs to be input here by Opus One
Asset costs recorded in Asset Library of Grid OS IDP

## 2.2 Network Losses
Network Losses
59.7406 | per MWhr
Losses (MW) | 1.1 | Calculated from simulation
Cost of Losses | 65.7147

## 2.3 Flexibility Service Admin
Flexibility Service Administration and Management Costs (incurred by DNO)
Total annual hours | 140
Total annual days | 18.9189
SSEN day rate (including overheads) = £450 | 450
Annual cost of flexible service admin to SSEN (per service) | 8513.5135
Length of simulation (years) | 1.5
Admin Cost | 12770.2703
Annual 3rd party charges (estimate) | 160000

## 3.1 Remaining Asset Life Value
Remaining Asset Life Value
Average Asset lifespan (years) | 45
RIIO-ED1
| 1 | 2 | 3 | 4 | 5 | 6
| 2016 | 2017 | 2018 | 2019 | 2020 | 2021
Total Investment (million) | 10 | 15 | 5 | 10 | 12
Capitalisation rate (%) | 70 | 70 | 70 | 70 | 70
Capitalised investment (million) | 7 | 10.5 | 3.5 | 7 | 8.4
Depreciation | [6 empty] | Total Depreciation | Remaining Value | Remaining Value(Opus One Formula)
2016 |  | 0.15556 | 0.15556 | 0.15556 | 0.15556 | 0.15556 | 0.77778 | 6.2222 | 6.2222
2017 |  |  | 0.23333 | 0.23333 | 0.23333 | 0.23333 | 0.93333 | 9.5667 | 9.5667
2018 |  |  |  | 0.077778 | 0.077778 | 0.077778 | 0.23333 | 3.2667 | 3.2667
2019 |  |  |  |  | 0.15556 | 0.15556 | 0.31111 | 6.6889 | 6.6889
2020 | [5 empty] | 0.18667 | 0.18667 | 8.2133 | 8.2133
Total project cost will be = Total equipment cost + Total labor cost - Remaining value of replaced asset.
Remaining value of replaced asset = (1-(age/average asset lifespan)) * ( Total investment * Capitalisation rate)
Remaining value of replaced asset = ((1 – (age/average asset lifespan)) (1 – (health/total health”5”)) * (Total investment * Capitalisation rate)). | [9 empty] | *Asset health removed, so this formula no longer in use.

## 3.2 Asset Life Costs (NPV+)
Traditional Reinforcement Net Present Value (NPV)
Cost of Traditional Solution
Year | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40
Asset cost | 0 | 0 | 0 | 0 | 1000000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Deferred Asset Cost (deferment depends on load forecast) | 0 | 0 | 0 | 0 | 0 | 1000000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DER admin Cost | 0 | 0 | 0 | 0 | 8513.5135 | 8513.5135 | 8513.5135 | 8513.5135 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Deferred Cost | 0 | 0 | 0 | 0 | 8513.5135 | 1008513.5135 | 8513.5135 | 8513.5135 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Interest Rate | 4% | *Interest rate is variable in Grid OS IDP
Asset NPV Cost | 854804.191
Deferred Asset NPV Cost | 821927.1068
Total Deferred NPV Cost | 849399.9053
Deferrment Saving | 5404.2857
Availability Percentage | 95%
Utilisation Percentage | 5%
Max Availability Payment | 5134.0715
Max Utilisaiton Payment | 270.2143
Number of availability hours required | 100 | *Determined by Grid OS IDP model run
Number of availability MW required | 5 | *Determined by Grid OS IDP model run
Number of uilisation hours required | 1 | *Determined by Grid OS IDP model run
Number of utilisation MW required | 10 | *Determined by Grid OS IDP model run
Availability Price (£/MWhr) | 10.2681
Utilisation Price (£/MWhr) | 27.0214
Costs
DER Admin Costs | 8513.5135 | *Asset deferrment saving divided by 2.26 (Needs checking by flex solution team)
CCCM Doc costs to be input here by Opus One
Asset costs recorded in Asset Library of Grid OS IDP
Ongoing Costs
Typical Maintenance Period | x | hours
Typical Number of Staff Required | x | #
Number of affected customers | x | #
Planned outage length | x | hours
Number of maintenance events in life span | x | #
Size of generation required | x | MWhrs
Maintenance Costs Labour
Maintenance Costs CI CML
Maintenance Costs Backup-Gen
Total Maintenance Cost
Diesel Generator Guidance | Cost per customer | Source
<10 Customers | 148.6368 | Live Line Harvester Mobile Generation Calculator
<50 Customers | 99.3242 | Live Line Harvester Mobile Generation Calculator
<100 Customer | 75.0499 | Live Line Harvester Mobile Generation Calculator
<150 Customers | 35.1105 | Live Line Harvester Mobile Generation Calculator
>150 Customers | 27.2757 | Live Line Harvester Mobile Generation Calculator
Large Industrial Customers | Variable | This will need to be calculated on per customer basis or a new calculation created based on customer load/demand.

## 3.3 Net avoided outage costs
| % over threshold | Duration(hours) |  |  |  | % over threshold | Duration(hours) |  |  |  | % over threshold | Duration(hours)
1 | 3 | 2 |  |  | 1 | 5 | 1 |  |  | 1 | 8 | 2
2 | 2 | 1 |  |  | 2 | 3 | 5 |  |  | 2 | 9 | 4
3 | 1 | 5 |  |  | 3 | 2 | 6 |  |  | 3 | 12 | 13
4 | 1 | 1 |  |  | 4 | 6 | 3 |  |  | 4 | 8 | 7
5 | 2 | 2 |  |  | 5 | 8 | 9 |  |  | 5 | 3 | 3
6 | 2 | 1 |  |  | 6 | 2 | 5 |  |  | 6 | 2 | 7
7 | 1 | 2 |  |  | 7 | 1 | 2 |  |  | 7 | 5 | 9
8 | 1 | 3 |  |  | 8 | 5 | 6 |  |  | 8 | 6 | 5
9 | 1 | 1 |  |  | 9 | 3 | 3 |  |  | 9 | 3 | 6
10 | 1 | 1 |  |  | 10 | 1 | 1 |  |  | 10 | 8 | 4
Average | 1.5 | 1.9 |  |  | Average | 3.6 | 4.1 |  |  | Average | 6.4 | 6
[15 empty] | Characteristic life | η
Asset 1 |  |  |  |  | Asset 2 |  |  |  |  | Asset 3 |  |  |  |  | Shape parameter | β
Number of Customers | 50 | # |  |  | Number of Customers | 50 | # |  |  | Number of Customers | 50 | # |  |  | HI shift Factor | b
CML cost | 0.37667 | £ |  |  | CML cost | 0.37667 | £ |  |  | CML cost | 0.37667 | £ |  |  | Health Index | HI
CI cost | 15.4435 | £ |  |  | CI cost | 15.4435 | £ |  |  | CI cost | 15.4435 | £
Characteristic life | 40 | η |  |  | Characteristic life | 40 | η |  |  | Characteristic life | 40 | η
Shape parameter | 3 | β |  |  | Shape parameter | 3 | β |  |  | Shape parameter | 3 | β
HI shift Factor | 20 | b |  |  | HI shift Factor | 20 | b |  |  | HI shift Factor | 20 | b
HI | 5 | HI |  |  | HI | 3 | HI |  |  | HI | 1 | HI
Time to restore(mins) | 145 | mins |  |  | Time to restore(mins) | 145 | mins |  |  | Time to restore(mins) | 145 | mins
Age | P.O.F | CI | CML | CI CML Cost | Age | P.O.F | CI | CML | CI CML Cost | Age | P.O.F | CI | CML | CI CML Cost
10 | 0.0079681 | 0.3984 | 57.7686 | 27.9125 | 10 | 0.0013708 | 0.06854 | 9.9383 | 4.802 | 10 | 0.00045506 | 0.022753 | 3.2992 | 1.5941
15 | 0.026639 | 1.3319 | 193.131 | 93.3167 | 15 | 0.0046189 | 0.23095 | 33.4872 | 16.1803 | 15 | 0.001535 | 0.07675 | 11.1288 | 5.3772
20 | 0.061995 | 3.0998 | 449.4638 | 217.1711 | 20 | 0.010914 | 0.5457 | 79.1261 | 38.232 | 20 | 0.0036347 | 0.18174 | 26.3516 | 12.7325
25 | 0.1175 | 5.8752 | 851.8975 | 411.6183 | 25 | 0.021205 | 1.0603 | 153.7392 | 74.2834 | 25 | 0.0070867 | 0.35434 | 51.3789 | 24.8252
30 | 0.19426 | 9.7132 | 1408.4191 | 680.5175 | 30 | 0.03636 | 1.818 | 263.6068 | 127.3691 | 30 | 0.012214 | 0.61071 | 88.5535 | 42.7871
35 | 0.29036 | 14.5181 | 2105.123 | 1017.1497 | 35 | 0.057117 | 2.8559 | 414.1008 | 200.0845 | 35 | 0.019326 | 0.9663 | 140.1139 | 67.7
40 | 0.4007 | 20.0352 | 2905.1055 | 1403.6839 | 40 | 0.084048 | 4.2024 | 609.3492 | 294.4243 | 40 | 0.02871 | 1.4355 | 208.1506 | 100.5738
45 | 0.51761 | 25.8804 | 3752.6642 | 1813.2059 | 45 | 0.1175 | 5.8752 | 851.8975 | 411.6183 | 45 | 0.040629 | 2.0314 | 294.5574 | 142.3238
50 | 0.63212 | 31.606 | 4582.8741 | 2214.3452 | 50 | 0.15757 | 7.8786 | 1142.4012 | 551.9834 | 50 | 0.055307 | 2.7654 | 400.9791 | 193.7444
55 | 0.73579 | 36.7894 | 5334.4564 | 2577.4934 | 55 | 0.20405 | 10.2027 | 1479.3895 | 714.8089 | 55 | 0.072932 | 3.6466 | 528.7564 | 255.4836
60 | 0.82236 | 41.118 | 5962.1148 | 2880.7644 | 60 | 0.25643 | 12.8216 | 1859.1387 | 898.2954 | 60 | 0.093637 | 4.6819 | 678.8715 | 328.016
65 | 0.88886 | 44.4432 | 6444.2635 | 3113.7282 | 65 | 0.31389 | 15.6944 | 2275.6894 | 1099.5637 | 65 | 0.1175 | 5.8752 | 851.8975 | 411.6183
70 | 0.93569 | 46.7844 | 6783.7338 | 3277.7528 | 70 | 0.37531 | 18.7657 | 2721.0328 | 1314.7439 | 70 | 0.14455 | 7.2273 | 1047.9525 | 506.3479
75 | 0.96578 | 48.2891 | 7001.9186 | 3383.175 | 75 | 0.43938 | 21.9688 | 3185.4714 | 1539.1506 | 75 | 0.17471 | 8.7356 | 1266.6641 | 612.0246
80 | 0.98336 | 49.168 | 7129.3665 | 3444.7551 | 80 | 0.50457 | 25.2286 | 3658.1424 | 1767.535 | 80 | 0.20788 | 10.3941 | 1507.1454 | 728.2199
85 | 0.99265 | 49.6325 | 7196.7096 | 3477.2938 | 85 | 0.56933 | 28.4667 | 4127.6674 | 1994.3992 | 85 | 0.24386 | 12.193 | 1767.9859 | 854.2524
90 | 0.99707 | 49.8534 | 7228.7415 | 3492.7709 | 90 | 0.63212 | 31.606 | 4582.8741 | 2214.3452 | 90 | 0.28238 | 14.119 | 2047.2603 | 989.1917
95 | 0.99895 | 49.9475 | 7242.3878 | 3499.3645 | 95 | 0.69152 | 34.576 | 5013.518 | 2422.423 | 95 | 0.32311 | 16.1556 | 2342.5552 | 1131.8718
100 | 0.99966 | 49.9832 | 7247.5679 | 3501.8674 | 100 | 0.74634 | 37.3168 | 5410.9312 | 2614.4444 | 100 | 0.36566 | 18.2829 | 2651.0164 | 1280.9135
| Avg. % over Threshold | Shift factor
| 0 | 20
| 0-2 | 15
| 3-5 | 10
| 6-8 | 5
| 9+ | 0

## 4.1 Loss of Export Capacity
Run 2 scenarios, compare results of export capacity

## 4.2 Avoided Energy
Avoided Energy
= Energy_traditional - Energy_Flex
Energy required by the DSO traditionally (MW) | 180 | Determined by system loading
Energy required by the DSO from traditional and flexibility (MW) | 170 | Determined by procured flexiblity and subsequent substation energy
Energy Saved (MW) | 10
Cost Saved (£) | 500 | Cost of energy at the substation | £50/MW assumption entered here

## 4.3 Community Generation Credit
Community Generation Credit
= Community Generation Credit/year * Simulation Length
Community Generation Credit (£/MWh-yr) | 100
Simulation Length (yr) | 1.2
Cost (£) | 120
Community Generation Credit
= Community Generation Credit/year * Simulation Length
Cambridge's notes
Community Generation Credit
A value of 0.5p/kWh seems reasonable (see justification below). The thing we need to think is the way how this will be introduced in the CBA (i.e. set conditions, others).
Community credit is what citizens are willing to pay for the 'community' aspect of an energy project, on top of the pure environmental aspects.
A behavioural economics approach would suggest that the basic answer to any question of 'what would you be willing to pay for some societal benefit?' is around £10, as that is what might be given if someone asked you in the pub for a contribution to saving the whales, saving the pub etc.
On that basis if a typical household participating in a community energy scheme generates 2000 kWh per year, that equates to 0.5p/kWh (i.e. 2000/1000).
Actually we have some real evidence from CESP - the Community Energy Savings Programme which ran from 2009-2012.
The CESP scheme supported community energy projects including district heating by paying towards carbon savings.
It explicitly paid a community area bonus if at least 25% of a community was treated with an energy savings measure.
The bonus rate was a carbon credit of x%/2 where x% was the percentage of the community treated. So at 50% treated the bonus rate was additional carbon credit savings of 25%.
The average cost of the scheme was roughly £18 / tonne of CO2 saved, so a 25% area bonus was £4.50 per tonne of CO2 saved, rising to a bonus of 50% or £9 for 100% coverage.
To convert this into a willingness to pay for additional community renewables we might assume that the marginal saving on CO2 per unit of zero carbon energy is 0.4 tonnes per MWh (assuming gas is the marginal fuel).
That gives c.£4 / MWh (9*0.4), or 0.4p / kWh. Given that underlying UK carbon prices have increased by 400% since 2012 (from £10 in the EUETS to £40 with the EUETS + CPF), 0.5p/kWh seems a reasonable figure.
See legislation here
https://www.legislation.gov.uk/ukdsi/2009/9780111481929/contents
Evaluation of CESP
https://assets.publishing.service.gov.uk/government/uploads/system/uploads/attachment_data/file/350722/CERT_CESP_Evaluation_FINAL_Report.pdf

## 4.4 Net Avoided GHG
Net Avoided Greenhouse Gasses (GHG) |  |  | TBC
= (CO2_Bulk + CO2_DER)_Trad - (CO2_Bulk + CO2_DER)_Flex
CO2_Bulk system_traditional | 300 | kg
CO2_DER_flex_traditional | 10 | kg
CO2_Bulk system_flex | 250 | kg
CO2_DER_flex_flex | 25 | kg
Cost of CO2 (£/tonne CO2) | 4.4706 | *Refer to ON-P data inputs tab. Changes per year
Cost of Avoided GHG | 156.4706
Diesel cost per MW | £k per MW | 270
Diesel cost per MWh | £k per MWh | 0.243
How much diesel is required per customer per hour
Assumption: How much time is required for diesel gen in construction to supply customers
Customer Interruption (CI) and Customer Minutes Lost (CML)
| Unplanned | Planned
CI | 15.44 | 7.72
CML | 0.38 | 0.19
*These numbers are configurable within the tool
Cambridge's notes:
CO2
We need to define the kind of input we would need here, apart from the cost of CO2.
To keep this simply we can consider those that are related to energy, I mean expressed in MWh or KWh.
This can be for instance saving in distribution losses, avoided energy (4.3), net avoided outage(3.3? )
Both types of inputs (distribution losses, energy) refer to Scope 2 emissions according to the latest SSE PLC sustainability report – 2019
However according to the latest recommendation from DEFRA 2020, scope 3 emissions are the ones that enclose T&D losses, need to check it in order to allocate the corresponding conversion factors.
See SSE report (p. 17)
https://www.sse.com/media/onej35am/sse-sustainability-report-2019-final-spreads.pdf
And latest report from DEFRA (2020):
https://www.gov.uk/government/publications/greenhouse-gas-reporting-conversion-factors-2020
SF6
The other option is to consider CO2 costs associated to others (excluding losses), for instance in distribution activities (i.e. the operation of substations: leakage from electricity substations, magnesium smelters, others),
Don’t know if SSEN has this information per type of asset/item.
However, this seems to be very small in comparison with the CO2 emissions from distribution losses.
ENA is also proposing to include in the common methodology the impact of GHG (avoidance), I would suggest be aligned with them.

## 5.1 Operating assets beyond cap
| % over threshold | Duration(hours) |  |  |  | % over threshold | Duration(hours) |  |  |  | % over threshold | Duration(hours)
1 | 3 | 2 |  |  | 1 | 5 | 1 |  |  | 1 | 8 | 2
2 | 2 | 1 |  |  | 2 | 3 | 5 |  |  | 2 | 9 | 4
3 | 1 | 5 |  |  | 3 | 2 | 6 |  |  | 3 | 12 | 13
4 | 1 | 1 |  |  | 4 | 6 | 3 |  |  | 4 | 8 | 7
5 | 2 | 2 |  |  | 5 | 8 | 9 |  |  | 5 | 3 | 3
6 | 2 | 1 |  |  | 6 | 2 | 5 |  |  | 6 | 2 | 7
7 | 1 | 2 |  |  | 7 | 1 | 2 |  |  | 7 | 5 | 9
8 | 1 | 3 |  |  | 8 | 5 | 6 |  |  | 8 | 6 | 5
9 | 1 | 1 |  |  | 9 | 3 | 3 |  |  | 9 | 3 | 6
10 | 1 | 1 |  |  | 10 | 1 | 1 |  |  | 10 | 8 | 4
Average | 1.5 | 1.9 |  |  | Average | 3.6 | 4.1 |  |  | Average | 6.4 | 6
[15 empty] | Characteristic life | η
Asset 1 |  |  |  |  | Asset 2 |  |  |  |  | Asset 3 |  |  |  |  | Shape parameter | β
Number of Customers | 50 | # |  |  | Number of Customers | 50 | # |  |  | Number of Customers | 50 | # |  |  | HI shift Factor | b
CML cost | 0.37667 | £ |  |  | CML cost | 0.37667 | £ |  |  | CML cost | 0.37667 | £ |  |  | Health Index | HI
CI cost | 15.4435 | £ |  |  | CI cost | 15.4435 | £ |  |  | CI cost | 15.4435 | £
Characteristic life | 40 | η |  |  | Characteristic life | 40 | η |  |  | Characteristic life | 40 | η
Shape parameter | 3 | β |  |  | Shape parameter | 3 | β |  |  | Shape parameter | 3 | β
HI shift Factor | 20 | b |  |  | HI shift Factor | 10 | b |  |  | HI shift Factor | 5 | b
HI | 5 | HI |  |  | HI | 3 | HI |  |  | HI | 1 | HI
Time to restore(mins) | 145 | mins |  |  | Time to restore(mins) | 145 | mins |  |  | Time to restore(mins) | 145 | mins
Age | P.O.F | CI | CML | CI CML Cost | Age | P.O.F | CI | CML | CI CML Cost | Age | P.O.F | CI | CML | CI CML Cost
10 | 0.0079681 | 0.3984 | 57.7686 | 27.9125 | 10 | 0.0036347 | 0.18174 | 26.3516 | 12.7325 | 10 | 0.0040876 | 0.20438 | 29.6353 | 14.3191
15 | 0.026639 | 1.3319 | 193.131 | 93.3167 | 15 | 0.012214 | 0.61071 | 88.5535 | 42.7871 | 15 | 0.013729 | 0.68644 | 99.5344 | 48.0929
20 | 0.061995 | 3.0998 | 449.4638 | 217.1711 | 20 | 0.02871 | 1.4355 | 208.1506 | 100.5738 | 20 | 0.032237 | 1.6118 | 233.7179 | 112.9274
25 | 0.1175 | 5.8752 | 851.8975 | 411.6183 | 25 | 0.055307 | 2.7654 | 400.9791 | 193.7444 | 25 | 0.061995 | 3.0998 | 449.4638 | 217.1711
30 | 0.19426 | 9.7132 | 1408.4191 | 680.5175 | 30 | 0.093637 | 4.6819 | 678.8715 | 328.016 | 30 | 0.1047 | 5.2348 | 759.0463 | 366.7547
35 | 0.29036 | 14.5181 | 2105.123 | 1017.1497 | 35 | 0.14455 | 7.2273 | 1047.9525 | 506.3479 | 35 | 0.16106 | 8.053 | 1167.6845 | 564.1998
40 | 0.4007 | 20.0352 | 2905.1055 | 1403.6839 | 40 | 0.20788 | 10.3941 | 1507.1454 | 728.2199 | 40 | 0.2306 | 11.53 | 1671.8484 | 807.8008
45 | 0.51761 | 25.8804 | 3752.6642 | 1813.2059 | 45 | 0.28238 | 14.119 | 2047.2603 | 989.1917 | 45 | 0.31151 | 15.5753 | 2258.4151 | 1091.2171
50 | 0.63212 | 31.606 | 4582.8741 | 2214.3452 | 50 | 0.36566 | 18.2829 | 2651.0164 | 1280.9135 | 50 | 0.4007 | 20.0352 | 2905.1055 | 1403.6839
55 | 0.73579 | 36.7894 | 5334.4564 | 2577.4934 | 55 | 0.45438 | 22.7188 | 3294.2297 | 1591.7003 | 55 | 0.49413 | 24.7064 | 3582.4294 | 1730.9521
60 | 0.82236 | 41.118 | 5962.1148 | 2880.7644 | 60 | 0.54458 | 27.2288 | 3948.1782 | 1907.6739 | 60 | 0.58718 | 29.3588 | 4257.0322 | 2056.9055
65 | 0.88886 | 44.4432 | 6444.2635 | 3113.7282 | 65 | 0.63212 | 31.606 | 4582.8741 | 2214.3452 | 65 | 0.6753 | 33.7652 | 4895.9495 | 2365.6165
70 | 0.93569 | 46.7844 | 6783.7338 | 3277.7528 | 70 | 0.7132 | 35.6601 | 5170.7119 | 2498.3757 | 70 | 0.75462 | 37.7308 | 5470.9608 | 2643.4494
75 | 0.96578 | 48.2891 | 7001.9186 | 3383.175 | 75 | 0.7848 | 39.24 | 5689.7973 | 2749.1865 | 75 | 0.82236 | 41.118 | 5962.1148 | 2880.7644
80 | 0.98336 | 49.168 | 7129.3665 | 3444.7551 | 80 | 0.845 | 42.2502 | 6126.2841 | 2960.0874 | 80 | 0.87719 | 43.8597 | 6359.6588 | 3072.849
85 | 0.99265 | 49.6325 | 7196.7096 | 3477.2938 | 85 | 0.89314 | 44.657 | 6475.2615 | 3128.7057 | 85 | 0.91917 | 45.9587 | 6664.0112 | 3219.9055
90 | 0.99707 | 49.8534 | 7228.7415 | 3492.7709 | 90 | 0.92967 | 46.4834 | 6740.0933 | 3256.6667 | 90 | 0.94951 | 47.4755 | 6883.949 | 3326.1746
95 | 0.99895 | 49.9475 | 7242.3878 | 3499.3645 | 95 | 0.95593 | 47.7965 | 6930.4952 | 3348.6648 | 95 | 0.97016 | 48.5079 | 7033.6389 | 3398.5015
100 | 0.99966 | 49.9832 | 7247.5679 | 3501.8674 | 100 | 0.97378 | 48.6891 | 7059.9233 | 3411.2016 | 100 | 0.98336 | 49.168 | 7129.3665 | 3444.7551
| Avg. % over Threshold | Shift factor
| 0 | 20
| 0-2 | 15
| 3-5 | 10
| 6-8 | 5
| 9+ | 0